## Slide 1: Flash tool

## Slide 2: Flash tool in debug mode
Click Terminal_main.exe to run the flash tool or add –debug to run in the debug mode.
-> Debug message

## Slide 3: Program step
1
2
3
4
5
Click configure.
Select COM port.
Check COM port is connected and click program page.
Click … to open the bin file.
Click Upgrade

## Slide 4: Log
CRC

## Slide 5: Manual command
Go to the Terminal page.
Select HEX mode.
Enter the Modbus command without CRC and press Enter to send it.
Check the response in the output window.
1
2
3
4